## VENDED PARTS LIST
OBST
ITEM NO. | DRAWING NUMBER | DESCRIPTION | QTY. | VENDER
6 | S421 | SPRING 1.5X4 | 1 | ASHFIELD SPRING, UK
17 | OBST-032 | HANDLE | 2 | AWM/MMC
7 | OBST-018 | T-SLOT RAIL, 1" MMC47065T209 | 2 | AWM/MMC
5 | OBST-033 | PHD SLIDE | 1 | AWM/PHD
12 | PT5A-100-N34-DN-500-M6 | STRING POTENTIOMETER | 1 | CELESCO
19 | OEM 2.0M x 4 CM(S) | ENDINE DAMPER | 1 | ENDINE
20 | LR M64 x 2 | ENDINE DAMPER LOCK RING | 2 | ENDINE
4 | IGUS 20.1.055 | CABLE CARRIER | 1 | IGUS
11 | KISTLER 9347C | TRIAXIAL LOAD CELL | 1 | KISTLER
N/A | 1698AA5 | 5 METER CABLE | 1 | KISTLER
21 | KISTLER 8793A | KISTLER ACCELEROMETER | 1 | KISTLER
N/A | 1756C10K03 | 10 METER CABLE | 1 | KISTLER
4 | TWN-16-OPN-CR | LINEAR BEARING | 2 | Mc Master Carr
7 | MMC60485K73 | SPL+F50R, 1.38" NYLON | 2 | Mc Master Carr
8 | MMC6436K146 | SPLIT COLLAR, 1.38" ALUMINUM | 2 | Mc Master Carr
24 | MMC-90128A716 | HX-SHCS 0.5-13x1.5x1.5-N | 6 | Mc Master Carr
25 | MMC-90128A581 | HX-SHCS 0.3125-18x0.75x0.75-N | 6 | Mc Master Carr
26 | MMC-90128A587 | HX-SHCS 0.3125-18x1.5x1.5-N | 14 | Mc Master Carr
27 | MMC-90128A583 | HX-SHCS 0.3125-18x1x1-N | 10 | Mc Master Carr
28 | MMC-90128A199 | HX-SHCS 0.164-32x1x1-N | 4 | Mc Master Carr
29 | MMC-90128A196 | HX-SHCS 0.164-32x0.625x0.625-N | 4 | Mc Master Carr
30 | MMC-90128A194 | HX-SHCS 0.164-32x0.5x0.5-N | 1 | Mc Master Carr
31 | MMC-90128A586 | HX-SHCS 0.3125-18x1.25x1.25-N | 4 | Mc Master Carr
32 | MMC-90128A276 | MMC-90128A276 | 4 | Mc Master Carr
37 | MMC-90128A274 | B18.3.1M - 8 x 1.25 x 20 Hex SHCS -- 20NHX | 4 | Mc Master Carr
38 | MMC-8480A3 | SPRIG61NGER, 5/8"-11UNC | 1 | Mc Master Carr
6 | MMC-7301K34 | ELECTRONICS ENCLOSURE 6-3/4" x 5-1/2" | 1 | Mc Master Carr
8 | MMC-47065T91 | T-SLOT RAIL END CAP, 1" | 2 | Mc Master Carr
10 | MMC-5684K22 | ELECTF64ET | 1 | Mc Master Carr
13 | MMC-3238T120 | FIXEF66 | 2 | Mc Master Carr
15 | MMC-90128A254 | HX-SHCS 0.25-20x2.25x1.25-N | 8 | Mc Master Carr
16 | MMC-90128A251 | HX-SHCS 0.25-20x1.5x1-N | 4 | Mc Master Carr
17 | MMC-90128A242 | HX-SHCS 0.25-20x0.5x0.5-N | 24 | Mc Master Carr
18 | MMC-90128A247 | HX-SHCS 0.25-20x1x1-N | 2 | Mc Master Carr
19 | MMC-91306A373 | SBHCSCREW 0.25-20x0.375-HX-N | 2 | Mc Master Carr
20 | MMC-90128A245 | HX-SHCS 0.25-20x0.75x0.75-N | 4 | Mc Master Carr
21 | MMC-90128A136 | HX-SHCS 0.3125-18x0.375x0.375-N | 8 | Mc Master Carr
22 | MMC-90128A220 | HX-SHCS 0.19-24x0.5x0.5-N | 4 | Mc Master Carr
23 | MMC-91306A387 | SBHCSCREW 0.3125-18x0.75-HX-N | 2 | Mc Master Carr
24 | MMC-90128A221 | HX-SHCS 0.19-24x0.625x0.625-N | 2 | Mc Master Carr
25 | MMC-97763A263 | SBHCSCREW 0.25-20x0.5-HX-N | 6 | Mc Master Carr
27 | MMC-90499A832 | HNUT 0.6250-11-D-N | 4 | Mc Master Carr
29 | MMC-6436K15 | SPLIG79R, 5/8" | 1 | Mc Master Carr
31 | MMC-90185A636 | RHSNBOLT 0.375-16x3x1-N | 4 | Mc Master Carr
32 | MMC-90108A417 | Preferred Narrow FW 0.375 | 4 | Mc Master Carr
33 | MMC-95005A130 | HNUTG82-D-N | 4 | Mc Master Carr
38 | MMC-91251A578 | HX-SHCS 0.3125-18x0.5x0.5-N | 2 | Mc Master Carr
5 | MMC-94804A351 | 5/8-11 UNC NUT | 1 | Mc Master Carr
3 | MMC-90729A211 | SCHCSCREW 0.138-40x0.375x0.375-HX-N | 2 | Mc Master Carr
40 | NOVATECHNIK LWH 75 | LINEAR POTENTIOMETER | 1 | NOVATECHNIK
3 | PCB 208C05 | SINGLE AXIS LOAD CELL | 1 | PCB
DAQ
ITEM NO. | PART NUMBER | DESCRIPTION | QTY. | VENDER
| 779334-02 | NI 9265 4Ch 20 mA, 100 kS/s/Ch, Current AO Module, Conformal Coat | 1 | NATIONAL INSTRUMENTS
| 781157-01 | cDAQ-9174, CompactDAQ chassis (4 slot USB) | 2 | NATIONAL INSTRUMENTS
| 763000-01 | Power Cord, AC, U.S., 120 VAC, 2.3 meters | 1 | NATIONAL INSTRUMENTS
| 196917-01 | NI 9977 C Series Filler Module for Empty Slot | 1 | NATIONAL INSTRUMENTS
| BD63801 | NI 9234 Bundle ID: BD63801 779680-03 NI 9234, 4-Ch, 51.2 kS/s, IEPE & AC/DC, Conformal Coated - NI 9234 with Conformal Coating 1 779697-02 BNC Male (plug) to BNC Male (plug) 2m cables, 4 pack of 183882-02 1 | 2 | NATIONAL INSTRUMENTS
| 5073A311 | 1-4-Channel Charge Amplifier, adjustable Range | 1 | KISTLER
| ACC-PS1 | Accelerometer Power Supplies, Battery Powered | 1 | OMEGA
| N/A | Computor | 1
LIFTING SYSTEM/ VIEHICLE POWER
ITEM NO. | PART NUMBER | DESCRIPTION | QTY. | VENDER
| IK-521906 | Kolpin® DirtWorks™ ATV Three-Point Hitch | 1 | Cabelas
| PWRINV360012W | AIMS Power PWRINV360012W 3600 Watt Power Inverter | 1 | InverterSupply
| 6FM200H | AIMS POWER 6FM200H DEEP CYCLE BATTERY 200 AMP BY VISION | 1 | InverterSupply